Industrial Plant Control

Referat

Authors:	Pleșca Evelyn-Iulia

Scientific coordinator: Ș.L. Mureșan Vlad

Table of contents

1	Laboratory 1	2

2	Laboratory 2	5

3	Laboratory 3	9

3.1	Dahlin method	9

3.2	Kalman method	10

4	Laboratory 7	13

Laboratory 1

For the first dataset, the Tangent Method was applied.

In the above figure, we can see the initial dataset plotted with a blue line, as well as the tangent drawn besides it.

After applying the method, the following parameters have been obtained:

k=3.3639
H=3.3639s+1

The approximated transfer function has been plotted with a red line.

For the second dataset, the Tangent method was applied as well.

In this case, we can observe that we have a time delay. The initial data and the tangent was plotted with a blue line as well.

After applying the method, the following parameters resulted:

k=2.8391
Tm=0.4
T=0.734
H=2.8390.734s+1*e-0.4s

The approximated transfer function has been plotted with a red line.

For the third dataset, both the Tangent Method and the Cohen-Coon method have been applied.

The initial data and the tangent was plotted using the blue line.

After applying the tangent method, the following parameters resulted:

k=7.1996
Tm=0.2
T=1.69
H=7.21.69s+1*e-0.2s

The transfer function approximated using the tangent method is plotted with a red line. We can see that it does not yield performances as well as with the following method.

After applying the Cohen-Coon method, the following parameters resulted:

y28=2.0159
y632=4.5501
Tm=0.285
α=3.7368
H=7.21.065s+1*e-0.285s

The transfer function approximated using the Cohen-Coon method is plotted with a green line and we can clearly see that it approximated the first transfer function very well.

The obtained transfer functions are:

| Nr | Transfer function | Method used for identification |
| --- | --- | --- |
| 1 | H=3.3639s+1 | The tangent method for first-order processes without dead time |
| 2 | H=2.8390.734s+1*e-0.4s | The tangent method for first-order processes with dead time |
| 3 | H=7.21.69s+1*e-0.2s | The tangent method for first-order processes with dead time |
| 4 | H=7.21.065s+1*e-0.285s | Cohen-Coon method |

Laboratory 2

For the following transfer function

H=4.25(1+0.3s)(1+22.5s)(1+40s)=4.25270s3+918.8s2+62.8s+1

the tangent and Cohen-Coon methods have been applied.

The following results have been obtained for the tangent method:

k=4.24
T=66.4
Tm=17.2
H=4.2466.4s+1*e-17.2s

The following results have been obtained for the Cohen-Coon method:

y28=33.8
y632=66.8
T=49.5
Tm=17.3
α=2.8613
H=4.2449.5s+1*e-17.3s
	In the figure below we can see the plots of the initial step response and of the transfer functions obtained using the tangent method and the Cohen-Coon method. Once again, the Cohen-Coon method yielded better results.

Next, Ziegler-Nichols, Chien-Hrones-Reswich and Oppelt methods have been applied to the transfer function obtained using the tangent method.

The process transfer function is Hs=4.2466.4s2+1*e-17.2s

The transfer functions obtained using these methods and their performances can be seen in the table below.

| Nr | Transfer function | Control method | Controller type | System performances in closed loop |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | εss | σ[%] | ts[s] |  |
| 1 | H=0.9105 | Ziegler-Nichols | P | -2.8454 | 0 | 385 |  |
| 2 | H=46.51s+0.819456.76s | Ziegler-Nichols | PI | 2.6064e-04 | 46 | 255 |  |
| 3 | H=323.2s2+46.98s+1.093295.8s2+34.4s | Ziegler-Nichols | PID | 2.6515e-04 | 106.3 | 1.3973e+03 |  |
| 4 | H=0.2731 | Chien-Hrones-Reswich | P | -0.1536 | 0 | 385 |  |
| 5 | H=6.577s+0.318720.64s | Chien-Hrones-Reswich | PI | -0.0016 | 50.9 | 660 |  |
| 6 | H=80.81s2+14.09s+0.5463147.9s2+17.2s | Chien-Hrones-Reswich | PID | 0.0027 | 98 | 1.4296e+03 |  |
| 7 | H=0.9105 | Oppelt | P | -2.8454 | 0 | 385 |  |
| 8 | H=41.34s+0.728456.76s | Oppelt | PI | 0.0046 | 36.6 | 208 |  |
| 9 | H=298.7s2+49.24s+1.093273.4s2+37.84s | Oppelt | PID | -0.0029 | 98.5 | 997.3495 |  |

The plots of the P, PI and PID controllers can be seen below.

We can observe that Ziegler-Nichols and Oppelt yield the best performances in the case of P controllers.

Oppelt yields the best performances for PI and PID controllers as well, followed by Ziegler-Nichols in the case of PI controllers and Chien-Hrones-Reswich in the case of PID controllers.

Laboratory 3

Dahlin method

The transfer function of the process is:

Hs=4.3(1+5s)(1+23s)e-2.5s=4.3115s2+28s+1

The transfer function discretized using ZOH with a sampling time of Ts=0.5 is:

Hdz=0.004489z-1+0.004311z-21-1.883z-1+0.8854z-2

I calculated a transfer function using the Dahlin method and afterwards I applied a filter. I got the following results:

Hr=7.8141-0.9785z-11-0.0.9048z-11-z-11+0.4757z-11+0.9602z-11-0.8128z-1+0.3076z-21+0.3722z-1+0.2405z-2
H=3.987-7.509z-1+3.52z-21-0.9649z-1+7.216e-16z-2-2.165e-15z-3-1.249e-16z-4+1.596e-16z-5-0.03508z-6

The Simulink scheme for this method can be seen below.

The following plot is the command signal.

This is the output of the controller:

Kalman method

The transfer function of the process is:

H=1.25126s2+23s+1

The transfer function discretized using ZOH with the sampling time ts=0.5 is:

H=z-60.001203z-1+0.001167z-21-1.9111z-1+0.9128z-2

I calculated the transfer function using the Kalman method and then applied a filter and got the following functions:

Hr=421.9-806.3z-1+385.1z-21-0.5076z-7-0.4924z-8
H=240.1-458.9z-1+219z-21-0.7572z-1+0.5733z-2-0.4341z-3+0.3287z-4-0.2489z-5+0.1885z-6-0.6503z-7

The Simulink scheme can be found below:

The command signals are:

The results of the unfiltered and filtered control schemes are:

Laboratory 7

The model of the asynchronous motor can be seen below:

The output of the motor – the turation stabilises at n=2940 rot/min and the synchronism turation is n0=3000 rot/min.

First, the relay method was applied. Below are the model and the plot.

The following parameters were obtained:

A0=52.6rotmin
T0=0.12s
K0=0.0242
Next, the following transfer functions were obtained by applying the Ziegler-Nichols method:

| Nr | Transfer function | Controller type | Parameters |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Kr | Ti | Td |
| 1 | H=0.0122 | P | 0.0122 |  |  |
| 2 | H=0.001072s+0.010980.0976s | PI | 0.011 | 0.0976 |  |
| 3 | H=1.308e-05s2+0.0008932s+0.014640.061s2 | PID | 0.0146 | 0.061 | 0.0146 |

The PI controller was recomputed and the following parameters were obtained:

Kr=0.0027
Ti=0.0976
H=0.000268s+0.0027460.0976s

The following model was obtained for controlling the motor turation:

The following plots are for the reference and the command signals:

The following are the Ua and Ub signals plotted:

The motor turation with the modified PI parameters is: